## FormTitan
Header
Fail Analisis | 2203-09-12
Internal Quality Control (IQC) ID: | IQC POW 040924
Reagent Blank (RB) ID: | RB POW 040924
Arsenic (As)
RB (ppb): | 0.04
Sample weight IQC A | 0.501
Sample weight IQC B | 0.502
Blank Conc. (ppb) | 53.956
Cadmium(Cd)
RB (ppb): | 0.016
Sample weight IQC A | 0.501
Sample weight IQC B | 0.502
Blank Conc. (ppb) | 19.516
Mercury (Hg)
RB (ppb): | 0.168
Sample weight IQC A | 0.501
Sample weight IQC B | 0.502
Blank Conc. (ppb) | 15.758
Plumbum(Pb)
RB (ppb): | 1.175
Sample weight IQC A | 0.501
Sample weight IQC B | 0.502
Blank Conc. (ppb) | 229.005
Nama dan Tarikh
Nama | PERMIT MAISARAH
Tarikh | 2024-09-11

## FormGH
Header
Fail Analisis
Internal Quality Control (IQC) ID:
Reagent Blank (RB) ID:
Arsenic (As)
RB (ppb):
Sample weight IQC A
Sample weight IQC B
Blank Conc. (ppb)
Cadmium(Cd)
RB (ppb):
Sample weight IQC A
Sample weight IQC B
Blank Conc. (ppb)
Mercury (Hg)
RB (ppb):
Sample weight IQC A
Sample weight IQC B
Blank Conc. (ppb)
Plumbum(Pb)
RB (ppb):
Sample weight IQC A
Sample weight IQC B
Blank Conc. (ppb)
Nama dan Tarikh
Nama
Tarikh

## IQC TITAN
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis: |  |  | 110924
Internal Quality Control (IQC) ID: |  |  | IQC POW 040924
Reagent Blank (RB) ID: |  |  | RB POW 040924
ARSENIC |  |  |  |  | RB (ppb): | 0.04 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<6%)
IQC Sample A | 0.501 | 53.956 | 4539.107 | 4485.151 | 89.88% | Within Warning Limit □ |  | 0.7587%
Within Control Limit □
IQC Sample B | 0.502 | 53.956 | 4573.264 | 4519.308 | 90.75% | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): | 0.016 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<9%)
IQC Sample A | 0.501 | 19.516 | 290.18 | 270.664 | 90.4% | Within Warning Limit □ |  | 2.472%
Within Control Limit □
IQC Sample B | 0.502 | 19.516 | 283.572 | 264.056 | 88.37% | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): | 0.168 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<8%)
IQC Sample A | 0.501 | 15.758 | 463.144 | 447.386 | 89.66% | Within Warning Limit □ |  | 1.521%
Within Control Limit □
IQC Sample B | 0.502 | 15.758 | 456.391 | 440.633 | 88.48% | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): | 1.175 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<5%)
IQC Sample A | 0.501 | 229.005 | 9975.193 | 9746.188 | 97.66% | Within Warning Limit □ |  | 0.5615%
Within Control Limit □
IQC Sample B | 0.502 | 229.005 | 9920.623 | 9691.618 | 97.3% | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh |  |  |  | PERMIT MAISARAH |  |  | 2024-09-11
Tandatangan Penyemak & tarikh

## IQC GH
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis: |  |  | 0
Internal Quality Control (IQC) ID: |  |  | 0
Reagent Blank (RB) ID: |  |  | 0
ARSENIC |  |  |  |  | RB (ppb): | 0 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<6%)
IQC Sample A | 0 | 0 |  | 0 | #DIV/0! | Within Warning Limit □ |  | #DIV/0!
Within Control Limit □
IQC Sample B | 0 | 0 |  | 0 | #DIV/0! | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): | 0 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<9%)
IQC Sample A | 0 | 0 |  | 0 | #DIV/0! | Within Warning Limit □ |  | #DIV/0!
Within Control Limit □
IQC Sample B | 0 | 0 |  | 0 | #DIV/0! | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): | 0 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<8%)
IQC Sample A | 0 | 0 |  | 0 | #DIV/0! | Within Warning Limit □ |  | #DIV/0!
Within Control Limit □
IQC Sample B | 0 | 0 |  | 0 | #DIV/0! | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): | 0 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<5%)
IQC Sample A | 0 | 0 |  | 0 | #DIV/0! | Within Warning Limit □ |  | #DIV/0!
Within Control Limit □
IQC Sample B | 0 | 0 |  | 0 | #DIV/0! | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh |  |  |  | 0 |  |  | 0
Tandatangan Penyemak & tarikh