## IQC TITAN
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis: |  |  | 110624A
Internal Quality Control (IQC) ID: |  |  | IQC POW BLK 100624 MIT
Reagent Blank (RB) ID: |  |  | RB POW A & B 100624 MIT
ARSENIC |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<6%)
IQC Sample A | 0.503 | 71.08 | 4303.12 | 4232.04 | 85.15% | Within Warning Limit □ | 1.467%
Within Control Limit □
IQC Sample B | 0.504 | 71.08 | 4365.646 | 4294.566 | 86.58% | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<9%)
IQC Sample A | 0.503 | 22.53 | 286.392 | 263.862 | 88.48% | Within Warning Limit □ | 1.889%
Within Control Limit □
IQC Sample B | 0.504 | 22.53 | 281.455 | 258.925 | 87% | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<8%)
IQC Sample A | 0.503 | 21.483 | 470.409 | 448.926 | 90.32% | Within Warning Limit □ | 4.064%
Within Control Limit □
IQC Sample B | 0.504 | 21.483 | 489.033 | 467.55 | 94.26% | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<5%)
IQC Sample A | 0.503 | 310.495 | 9945.164 | 9634.669 | 96.92% | Within Warning Limit □ | 0.3293%
Within Control Limit □
IQC Sample B | 0.504 | 310.495 | 9976.945 | 9666.45 | 97.44% | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh |  |  |  | PERMIT 110624
Tandatangan Penyemak & tarikh

## IQC GH
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis:
Internal Quality Control (IQC) ID:
Reagent Blank (RB) ID:
ARSENIC |  |  |  |  | RB (ppb): 0.041 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<6%)
IQC Sample A | 0.503 |  |  | 0 | 0% | Within Warning Limit □ | #DIV/0!
Within Control Limit □
IQC Sample B | 0.504 |  |  | 0 | 0% | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): 0.012 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<9%)
IQC Sample A | 0.503 |  |  | 0 | 0% | Within Warning Limit □ | #DIV/0!
Within Control Limit □
IQC Sample B | 0.504 |  |  | 0 | 0% | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): 0.208 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<8%)
IQC Sample A | 0.503 |  |  | 0 | 0% | Within Warning Limit □ | #DIV/0!
Within Control Limit □
IQC Sample B | 0.504 |  |  | 0 | 0% | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): 1.513 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<5%)
IQC Sample A | 0.503 |  |  | 0 | 0% | Within Warning Limit □ | #DIV/0!
Within Control Limit □
IQC Sample B | 0.504 |  |  | 0 | 0% | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh
Tandatangan Penyemak & tarikh