## IQC TITAN
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis: |  |  | 040424
Internal Quality Control (IQC) ID: |  |  | IQC POW 030424
Reagent Blank (RB) ID: |  |  | RB POW 030424
ARSENIC |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<6%)
IQC Sample A | 0.502 | 206.861 | 4817.865 | 4611.004 | 92.59% | Within Warning Limit □ | 1.607%
Within Control Limit □
IQC Sample B | 0.503 | 206.861 | 4892.573 | 4685.712 | 94.28% | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<9%)
IQC Sample A | 0.502 | 57.302 | 331.69 | 274.388 | 55.1% | Within Warning Limit □ | 0.9513%
Within Control Limit □
IQC Sample B | 0.503 | 57.302 | 329.092 | 271.79 | 54.68% | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<5%)
IQC Sample A | 0.502 | 5.124 | 486.573 | 481.449 | 4.834% | Within Warning Limit □ | 0.4509%
Within Control Limit □
IQC Sample B | 0.503 | 5.124 | 484.407 | 479.283 | 4.822% | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<5%)
IQC Sample A | 0.502 | 405.117 | 9267.577 | 8862.46 | 2966% | Within Warning Limit □ | 0.6872%
Within Control Limit □
IQC Sample B | 0.503 | 405.117 | 9328.691 | 8923.574 | 2992% | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh |  |  |  | PERMIT AMIR 040424
Tandatangan Penyemak & tarikh

## IQC GH
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis:
Internal Quality Control (IQC) ID:
Reagent Blank (RB) ID:
ARSENIC |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<6%)
IQC Sample A | 1.505 | 5.696 | 5384.856 | 5379.16 | 107.9% | Within Warning Limit □ | 2.21%
Within Control Limit □
IQC Sample B | 1.505 | 5.696 | 5267.292 | 5261.596 | 105.6% | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<8%)
IQC Sample A | 1.505 | 12.525 | 535.119 | 522.594 | 104.9% | Within Warning Limit □ | 3.717%
Within Control Limit □
IQC Sample B | 1.505 | 12.525 | 554.913 | 542.388 | 108.8% | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<5%)
IQC Sample A | 1.505 | 170.578 | 11028.122 | 10857.544 | 108.9% | Within Warning Limit □ | 1.253%
Within Control Limit □
IQC Sample B | 1.505 | 170.578 | 11165.018 | 10994.44 | 110.3% | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<9%)
IQC Sample A | 1.505 | 1.151 | 328.172 | 327.021 | 109.4% | Within Warning Limit □ | 3.042%
Within Control Limit □
IQC Sample B | 1.505 | 1.151 | 338.272 | 337.121 | 112.7% | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh
Tandatangan Penyemak & tarikh