## IQC TITAN
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis: |  |  | 170724
Internal Quality Control (IQC) ID: |  |  | IQC POW 160724
Reagent Blank (RB) ID: |  |  | RB POW 160724
ARSENIC |  |  |  |  | RB (ppb): 0.032 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<6%)
IQC Sample A | 0.502 | 51.295 | 4593.376 | 4542.081 | 91.2% | Within Warning Limit □ | 1.057%
Within Control Limit □
IQC Sample B | 0.504 | 51.295 | 4545.607 | 4494.312 | 90.61% | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): 0.019 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<9%)
IQC Sample A | 0.502 | 26.173 | 283.645 | 257.472 | 86.17% | Within Warning Limit □ | 2.604%
Within Control Limit □
IQC Sample B | 0.504 | 26.173 | 290.437 | 264.264 | 88.79% | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): 0.032 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<8%)
IQC Sample A | 0.502 | 5.661 | 455.811 | 450.15 | 90.39% | Within Warning Limit □ | 0.4311%
Within Control Limit □
IQC Sample B | 0.504 | 5.661 | 457.756 | 452.095 | 91.14% | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): 1.033 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<5%)
IQC Sample A | 0.502 | 282.572 | 9881.598 | 9599.026 | 96.37% | Within Warning Limit □ | 1.811%
Within Control Limit □
IQC Sample B | 0.504 | 282.572 | 9709.278 | 9426.706 | 95.02% | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh
Tandatangan Penyemak & tarikh

## IQC GH
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis: |  |  | 170724
Internal Quality Control (IQC) ID: |  |  | IQC POW 160724
Reagent Blank (RB) ID: |  |  | RB POW 160724
ARSENIC |  |  |  |  | RB (ppb): 0.032 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<6%)
IQC Sample A | 0.502 | 51.295 | 4593.376 | 4542.081 | 30.4% | Within Warning Limit □ | 1.057%
Within Control Limit □
IQC Sample B | 0.504 | 51.295 | 4545.607 | 4494.312 | 30.2% | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): 0.019 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<9%)
IQC Sample A | 0.502 | 26.173 | 283.645 | 257.472 | 28.72% | Within Warning Limit □ | 2.604%
Within Control Limit □
IQC Sample B | 0.504 | 26.173 | 290.437 | 264.264 | 29.6% | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): 0.032 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<8%)
IQC Sample A | 0.502 | 5.661 | 455.811 | 450.15 | 30.13% | Within Warning Limit □ | 0.4311%
Within Control Limit □
IQC Sample B | 0.504 | 5.661 | 457.756 | 452.095 | 30.38% | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): 1.033 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<5%)
IQC Sample A | 0.502 | 282.572 | 9881.598 | 9599.026 | 32.12% | Within Warning Limit □ | 1.811%
Within Control Limit □
IQC Sample B | 0.504 | 282.572 | 9709.278 | 9426.706 | 31.67% | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh
Tandatangan Penyemak & tarikh