## IQC TITAN
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis: |  |  | 310724(1)
Internal Quality Control (IQC) ID: |  |  | IQC POW 240724
Reagent Blank (RB) ID: |  |  | RB POW 240724
ARSENIC |  |  |  |  | RB (ppb): 0.021 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<6%)
IQC Sample A | 0.508 | 61.547 | 4810.779 | 4749.232 | 96.5% | Within Warning Limit □ | 0.877%
Within Control Limit □
IQC Sample B | 0.505 | 61.547 | 4769.308 | 4707.761 | 95.1% | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): 0.034 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<9%)
IQC Sample A | 0.508 | 21.108 | 333.275 | 312.167 | 105.7% | Within Warning Limit □ | 3.994%
Within Control Limit □
IQC Sample B | 0.505 | 21.108 | 321.052 | 299.944 | 101% | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): 0.343 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<8%)
IQC Sample A | 0.508 | 27.769 | 543.331 | 515.562 | 104.8% | Within Warning Limit □ | 1.443%
Within Control Limit □
IQC Sample B | 0.505 | 27.769 | 535.946 | 508.177 | 102.7% | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): 0.572 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<5%)
IQC Sample A | 0.508 | 315.681 | 9821.322 | 9505.641 | 96.58% | Within Warning Limit □ | 2.27%
Within Control Limit □
IQC Sample B | 0.505 | 315.681 | 9607.935 | 9292.254 | 93.85% | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh |  |  |  | PERMIT AMIR MAISARAH 31/07/2024
Tandatangan Penyemak & tarikh

## IQC GH
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis:
Internal Quality Control (IQC) ID:
Reagent Blank (RB) ID:
ARSENIC |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<6%)
IQC Sample A |  |  |  | 0 | #DIV/0! | Within Warning Limit □ | #DIV/0!
Within Control Limit □
IQC Sample B |  |  |  | 0 | #DIV/0! | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<9%)
IQC Sample A |  |  |  | 0 | #DIV/0! | Within Warning Limit □ | #DIV/0!
Within Control Limit □
IQC Sample B |  |  |  | 0 | #DIV/0! | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<8%)
IQC Sample A |  |  |  | 0 | #DIV/0! | Within Warning Limit □ | #DIV/0!
Within Control Limit □
IQC Sample B |  |  |  | 0 | #DIV/0! | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<5%)
IQC Sample A |  |  |  | 0 | #DIV/0! | Within Warning Limit □ | #DIV/0!
Within Control Limit □
IQC Sample B |  |  |  | 0 | #DIV/0! | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh
Tandatangan Penyemak & tarikh