## IQC TITAN
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis: |  |  | 310724 (1)
Internal Quality Control (IQC) ID: |  |  | IQC POW 290724
Reagent Blank (RB) ID: |  |  | RB POW 290724
ARSENIC |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<6%)
IQC Sample A | 0.507 | 70.07 | 4984.882 | 4914.812 | 99.67% | Within Warning Limit □ | 1.47%
Within Control Limit □
IQC Sample B | 0.508 | 70.07 | 5057.646 | 4987.576 | 101.3% | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<9%)
IQC Sample A | 0.507 | 21.326 | 336.404 | 315.078 | 106.5% | Within Warning Limit □ | 0.6722%
Within Control Limit □
IQC Sample B | 0.508 | 21.326 | 334.293 | 312.967 | 106% | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<8%)
IQC Sample A | 0.507 | 7.392 | 516.753 | 509.361 | 103.3% | Within Warning Limit □ | 0.3316%
Within Control Limit □
IQC Sample B | 0.508 | 7.392 | 518.445 | 511.053 | 103.8% | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<5%)
IQC Sample A | 0.507 | 228.787 | 10052.139 | 9823.352 | 99.61% | Within Warning Limit □ | 0.9268%
Within Control Limit □
IQC Sample B | 0.508 | 228.787 | 9961.516 | 9732.729 | 98.88% | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh |  |  |  | PERMIT AMIR MAISARAH 31/072024
Tandatangan Penyemak & tarikh

## IQC GH
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis:
Internal Quality Control (IQC) ID:
Reagent Blank (RB) ID:
ARSENIC |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<6%)
IQC Sample A |  |  |  | 0 | #DIV/0! | Within Warning Limit □ | #DIV/0!
Within Control Limit □
IQC Sample B |  |  |  | 0 | #DIV/0! | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<9%)
IQC Sample A |  |  |  | 0 | #DIV/0! | Within Warning Limit □ | #DIV/0!
Within Control Limit □
IQC Sample B |  |  |  | 0 | #DIV/0! | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<8%)
IQC Sample A |  |  |  | 0 | #DIV/0! | Within Warning Limit □ | #DIV/0!
Within Control Limit □
IQC Sample B |  |  |  | 0 | #DIV/0! | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<5%)
IQC Sample A |  |  |  | 0 | #DIV/0! | Within Warning Limit □ | #DIV/0!
Within Control Limit □
IQC Sample B |  |  |  | 0 | #DIV/0! | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh
Tandatangan Penyemak & tarikh